## tests
Name | Automatic | Input | Typology | TypeOfTest | TypeOfErogation | NumOfMeasurements | Path | Work | Link to Polarion | Comment
EQMR-1054 | True |  | ModbusZeraICT | Measurement | Voltage Driven | 3 | sequences\TestModbusZeraICT\test\Automatic\Measurement\EQMR-1054-ModbusMap-Measurements.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-1054 | !!Do not run this test on the portable Zera, it will fail the 3P3W erogation !! - Complies with ZEV Variants - https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4199
EQMR-2311 | True |  | ModbusZeraICT | Reset | Energy Driven | 4 | sequences\TestModbusZeraICT\test\Automatic\Reset\EQMR-2311-PowerFail.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-2311 | Better if Meter configured in 3P4W.
EQMR-2656 | True |  | ModbusZeraICT | Measurement | Voltage Driven | 3 | sequences\TestModbusZeraICT\test\Automatic\Measurement\EQMR-2656-ModbusMap-PowerQuality.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-2656 | !!Do not run this test on the portable Zera, it will fail the 3P3W erogation !! - Complies with ZEV Variants - https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4198
EQMR-2657 | True |  | ModbusZeraICT | Tariff + Measurement | Energy Driven | 4 | sequences\TestModbusZeraICT\test\Automatic\Tariff\EQMR-2657-ModbusMap-Tariffs.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-2657 | !!Do not run this test on the portable Zera, it will fail the 3P3W erogation !! - Better if Meter configured in 3P4W. Complies with ZEV Variants - https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4204
EQMR-2694 | True |  | ModbusZeraICT | Measurement | Energy Driven | 4 | sequences\TestModbusZeraICT\test\Automatic\Measurement\EQMR-2702-2694-2698-ModbusMap-Energy.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-2694 | !!Do not run this test on the portable Zera, it will fail the 3P3W erogation !! - Same Test for EQMR-2702, EQMR-2698 and EQMR-2694 - Complies with ZEV Variants
EQMR-2698 | True |  | ModbusZeraICT | Measurement | Energy Driven | 4 | sequences\TestModbusZeraICT\test\Automatic\Measurement\EQMR-2702-2694-2698-ModbusMap-Energy.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-2698 | !!Do not run this test on the portable Zera, it will fail the 3P3W erogation !! - Same Test for EQMR-2702, EQMR-2698 and EQMR-2694 - Complies with ZEV Variants
EQMR-2702 | True |  | ModbusZeraICT | Measurement | Energy Driven | 4 | sequences\TestModbusZeraICT\test\Automatic\Measurement\EQMR-2702-2694-2698-ModbusMap-Energy.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-2702 | !!Do not run this test on the portable Zera, it will fail the 3P3W erogation !! - Same Test for EQMR-2702, EQMR-2698 and EQMR-2694 - Complies with ZEV Variants
EQMR-2765 | True | Yes | ModbusZeraICT | Others |  |  | sequences\TestModbusZeraICT\test\Automatic\Others\EQMR-2765-Input Status-Modbus.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-2765
EQMR-3475 | True | Yes | ModbusZeraICT | Reset |  |  | sequences\TestModbusZeraICT\test\Automatic\Reset\EQMR-3475-Input counter reset-Modbus.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3475
EQMR-3526 | True |  | ModbusZeraICT | Measurement (Wiring Only) | Voltage Driven | 1 |  | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3526 | Same test for EQMR-3527 and EQMR-3526. Type of Erogation and NumOfMeasurement set just to avoid runtime errors
EQMR-3527 | True |  | ModbusZeraICT | Measurement (Wiring Only) | Voltage Driven | 1 |  | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3527 | Same test for EQMR-3527 and EQMR-3526. Type of Erogation and NumOfMeasurement set just to avoid runtime errors
EQMR-3548 | True |  | ModbusZeraICT | Reset | Energy Driven | 4 | sequences\TestModbusZeraICT\test\Automatic\Reset\EQMR-3548-All Rst.req Reset-Modbus.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3548 | Better if Meter configured in 3P4W. Complies with ZEV Variants - https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4235
EQMR-3549 | True |  | ModbusZeraICT | Reset |  |  | sequences\TestModbusZeraICT\test\Automatic\Reset\EQMR-3549-ErrorLogsReset-Modbus.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3549 | Manca solo da triggerare un Error prima del reset
EQMR-3550 | True |  | ModbusZeraICT | Reset |  |  | sequences\TestModbusZeraICT\test\Automatic\Reset\EQMR-3550-WarningLogsReset-Modbus.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3550 | Manca solo da triggerare un Warning prima del reset
EQMR-3551 | True |  | ModbusZeraICT | Reset |  |  | sequences\TestModbusZeraICT\test\Automatic\Reset\EQMR-3551-AlarmLogsReset-Modbus.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3551 | Manca solo da triggerare un Alarm prima del reset
EQMR-3552 | True |  | ModbusZeraICT | Reset |  |  | sequences\TestModbusZeraICT\test\Automatic\Reset\EQMR-3552-AllLogsReset-Modbus.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3552 | Manca solo da triggerare un Error, Warning,Alarm prima del reset
EQMR-3984 | False |  | MbusZeraICT | Measurement | Voltage Driven | 3 | sequences\TestMBusZeraICT\test\Semi-Automatic\Measurement\EQMR-3984-3985-3990-3992-3993-ModbusMap-Readout.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3984 | !!Do not run this test on the portable Zera, it will fail the 3P3W erogation !! - Same Test for EQMR-3984, EQMR-3985, EQMR-3990, EQMR-3992 and EQMR-3993
EQMR-3985 | False |  | MbusZeraICT | Measurement | Voltage Driven | 3 | sequences\TestMBusZeraICT\test\Semi-Automatic\Measurement\EQMR-3984-3985-3990-3992-3993-ModbusMap-Readout.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3985 | !!Do not run this test on the portable Zera, it will fail the 3P3W erogation !! - Same Test for EQMR-3984, EQMR-3985, EQMR-3990, EQMR-3992 and EQMR-3993
EQMR-3986 | False |  | MbusZeraICT | Measurement | Energy Driven | 4 | sequences\TestMBusZeraICT\test\Semi-Automatic\Measurement\EQMR-865-3986-3989-3988-ModbusMap-Energy.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3986 | !!Do not run this test on the portable Zera, it will fail the 3P3W erogation !! - Same Test for EQMR-865, EQMR-3986, EQMR-3989 and EQMR-3988 - Complies with ZEV Variants - https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4209
EQMR-3988 | False |  | MbusZeraICT | Measurement | Energy Driven | 4 | sequences\TestMBusZeraICT\test\Semi-Automatic\Measurement\EQMR-865-3986-3989-3988-ModbusMap-Energy.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3988 | !!Do not run this test on the portable Zera, it will fail the 3P3W erogation !! - Same Test for EQMR-865, EQMR-3986, EQMR-3989 and EQMR-3988 - Complies with ZEV Variants - https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4210
EQMR-3989 | False |  | MbusZeraICT | Measurement | Energy Driven | 4 | sequences\TestMBusZeraICT\test\Semi-Automatic\Measurement\EQMR-865-3986-3989-3988-ModbusMap-Energy.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3989 | !!Do not run this test on the portable Zera, it will fail the 3P3W erogation !! - Same Test for EQMR-865, EQMR-3986, EQMR-3989 and EQMR-3988 - Complies with ZEV Variants - https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4208
EQMR-3990 | False |  | MbusZeraICT | Measurement | Voltage Driven | 3 | sequences\TestMBusZeraICT\test\Semi-Automatic\Measurement\EQMR-3984-3985-3990-3992-3993-ModbusMap-Readout.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3990 | !!Do not run this test on the portable Zera, it will fail the 3P3W erogation !! - Same Test for EQMR-3984, EQMR-3985, EQMR-3990, EQMR-3992 and EQMR-3993 - Complies with ZEV Variants - https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4207
EQMR-3992 | False |  | MbusZeraICT | Measurement | Voltage Driven | 3 | sequences\TestMBusZeraICT\test\Semi-Automatic\Measurement\EQMR-3984-3985-3990-3992-3993-ModbusMap-Readout.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3992 | !!Do not run this test on the portable Zera, it will fail the 3P3W erogation !! - Same Test for EQMR-3984, EQMR-3985, EQMR-3990, EQMR-3992 and EQMR-3993 - Complies with ZEV Variants
EQMR-4059 | True |  | MbusZeraICT | Others |  |  | sequences\TestMBusZeraICT\test\Automatic\Others\EQMR-4059-4060-4061-4062-4063-4064-4065-4066-4067-4068-4069-Availability.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4059 | Same Test for EQMR-4059, EQMR-4060, EQMR-4061, EQMR-4062, EQMR-4063, EQMR-4063, EQMR-4064, EQMR-4065, EQMR-4066, EQMR-4067, EQMR-4068 and EQMR-4069
EQMR-4060 | True |  | MbusZeraICT | Others |  |  | sequences\TestMBusZeraICT\test\Automatic\Others\EQMR-4059-4060-4061-4062-4063-4064-4065-4066-4067-4068-4069-Availability.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4060 | Same Test for EQMR-4059, EQMR-4060, EQMR-4061, EQMR-4062, EQMR-4063, EQMR-4063, EQMR-4064, EQMR-4065, EQMR-4066, EQMR-4067, EQMR-4068 and EQMR-4069
EQMR-4061 | True |  | MbusZeraICT | Others |  |  | sequences\TestMBusZeraICT\test\Automatic\Others\EQMR-4059-4060-4061-4062-4063-4064-4065-4066-4067-4068-4069-Availability.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4061 | Same Test for EQMR-4059, EQMR-4060, EQMR-4061, EQMR-4062, EQMR-4063, EQMR-4063, EQMR-4064, EQMR-4065, EQMR-4066, EQMR-4067, EQMR-4068 and EQMR-4069
EQMR-4062 | True |  | MbusZeraICT | Others |  |  | sequences\TestMBusZeraICT\test\Automatic\Others\EQMR-4059-4060-4061-4062-4063-4064-4065-4066-4067-4068-4069-Availability.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4062 | Same Test for EQMR-4059, EQMR-4060, EQMR-4061, EQMR-4062, EQMR-4063, EQMR-4063, EQMR-4064, EQMR-4065, EQMR-4066, EQMR-4067, EQMR-4068 and EQMR-4069
EQMR-4063 | True |  | MbusZeraICT | Others |  |  | sequences\TestMBusZeraICT\test\Automatic\Others\EQMR-4059-4060-4061-4062-4063-4064-4065-4066-4067-4068-4069-Availability.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4063 | Same Test for EQMR-4059, EQMR-4060, EQMR-4061, EQMR-4062, EQMR-4063, EQMR-4063, EQMR-4064, EQMR-4065, EQMR-4066, EQMR-4067, EQMR-4068 and EQMR-4069
EQMR-4064 | True |  | MbusZeraICT | Others |  |  | sequences\TestMBusZeraICT\test\Automatic\Others\EQMR-4059-4060-4061-4062-4063-4064-4065-4066-4067-4068-4069-Availability.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4064 | Same Test for EQMR-4059, EQMR-4060, EQMR-4061, EQMR-4062, EQMR-4063, EQMR-4063, EQMR-4064, EQMR-4065, EQMR-4066, EQMR-4067, EQMR-4068 and EQMR-4069
EQMR-4065 | True |  | MbusZeraICT | Others |  |  | sequences\TestMBusZeraICT\test\Automatic\Others\EQMR-4059-4060-4061-4062-4063-4064-4065-4066-4067-4068-4069-Availability.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4065 | Same Test for EQMR-4059, EQMR-4060, EQMR-4061, EQMR-4062, EQMR-4063, EQMR-4063, EQMR-4064, EQMR-4065, EQMR-4066, EQMR-4067, EQMR-4068 and EQMR-4069
EQMR-4066 | True |  | MbusZeraICT | Others |  |  | sequences\TestMBusZeraICT\test\Automatic\Others\EQMR-4059-4060-4061-4062-4063-4064-4065-4066-4067-4068-4069-Availability.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4066 | Same Test for EQMR-4059, EQMR-4060, EQMR-4061, EQMR-4062, EQMR-4063, EQMR-4063, EQMR-4064, EQMR-4065, EQMR-4066, EQMR-4067, EQMR-4068 and EQMR-4069
EQMR-4067 | True |  | MbusZeraICT | Others |  |  | sequences\TestMBusZeraICT\test\Automatic\Others\EQMR-4059-4060-4061-4062-4063-4064-4065-4066-4067-4068-4069-Availability.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4067 | Same Test for EQMR-4059, EQMR-4060, EQMR-4061, EQMR-4062, EQMR-4063, EQMR-4063, EQMR-4064, EQMR-4065, EQMR-4066, EQMR-4067, EQMR-4068 and EQMR-4069
EQMR-4068 | True |  | MbusZeraICT | Others |  |  | sequences\TestMBusZeraICT\test\Automatic\Others\EQMR-4059-4060-4061-4062-4063-4064-4065-4066-4067-4068-4069-Availability.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4068 | Same Test for EQMR-4059, EQMR-4060, EQMR-4061, EQMR-4062, EQMR-4063, EQMR-4063, EQMR-4064, EQMR-4065, EQMR-4066, EQMR-4067, EQMR-4068 and EQMR-4069
EQMR-4069 | True |  | MbusZeraICT | Others |  |  | sequences\TestMBusZeraICT\test\Automatic\Others\EQMR-4059-4060-4061-4062-4063-4064-4065-4066-4067-4068-4069-Availability.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4069 | Same Test for EQMR-4059, EQMR-4060, EQMR-4061, EQMR-4062, EQMR-4063, EQMR-4063, EQMR-4064, EQMR-4065, EQMR-4066, EQMR-4067, EQMR-4068 and EQMR-4069
EQMR-4142 | False |  | ModbusZeraICT | Others |  |  | sequences\TestModbusZeraICT\test\Semi-Automatic\Others\EQMR-4142-ModbusMap-Informations.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4142 | User Check
EQMR-865 | False |  | MbusZeraICT | Measurement | Energy Driven | 4 | sequences\TestMBusZeraICT\test\Semi-Automatic\Measurement\EQMR-865-3986-3989-3988-ModbusMap-Energy.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-865 | !!Do not run this test on the portable Zera, it will fail the 3P3W erogation !! - Same Test for EQMR-865, EQMR-3986, EQMR-3989 and EQMR-3988
EQMR-940 | True |  | ModbusZeraICT | Tariff |  |  |  | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-940
EQMR-957 | True |  | ModbusZeraICT | Reset | Energy Driven | 4 | sequences\TestModbusZeraICT\test\Automatic\Reset\EQMR-957-ActiveReactive Rst.reg Reset-Modbus.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-957 | Better if Meter configured in 3P4W. Complies with ZEV Variants - https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4238
EQMR-4001 | False |  | MbusZeraICT | Others |  |  | sequences\TestMBusZeraICT\test\Semi-Automatic\Others\EQMR-4001-MBusReadout-Informations.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4001 | User Check
EQMR-3993 | False |  | MbusZeraICT | Measurement | Voltage Driven | 3 | sequences\TestMBusZeraICT\test\Semi-Automatic\Measurement\EQMR-3984-3985-3990-3992-3993-ModbusMap-Readout.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3993 | !!Do not run this test on the portable Zera, it will fail the 3P3W erogation !! - Same Test for EQMR-3984, EQMR-3985, EQMR-3990, EQMR-3992 and EQMR-3993
EQMR-3994 | False |  | MbusZeraICT | Measurement (Wiring Only) | Voltage Driven | 1 |  | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3994 | User Check
EQMR-3991 | True |  | MbusZeraICT | Tariff + Measurement | Energy Driven | 4 | sequences\TestMBusZeraICT\test\Automatic\Tariff\EQMR-3991-MBusReadout-EnergyTariffs.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3991 | !!Do not run this test on the portable Zera, it will fail the 3P3W erogation !! - Complies with ZEV Variants - https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4206
EQMR-4005 | True |  | MbusZeraICT | Tariff |  |  |  | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4005
EQMR-4015 | True | Yes | MbusZeraICT | Reset |  |  | sequences\TestMBusZeraICT\test\Automatic\Reset\EQMR-4015-InputCounterReset-Mbus.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4015
EQMR-4016 | True |  | MbusZeraICT | Reset | Energy Driven | 4 | sequences\TestMBusZeraICT\test\Automatic\Reset\EQMR-4016-ActiveReactiveRst.regReset-Mbus.seq | OK | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4016
BJEQ-1100 | False |  | MbusZeraICT | Others |  |  | sequences\TestMBusZeraICT\test\Semi-Automatic\Others\EQMR-4001-MBusReadout-Informations.seq | TEST
BJEQ-1101 | True |  | MbusZeraICT | Tariff + Measurement | Energy Driven | 4 | sequences\TestMBusZeraICT\test\Automatic\Tariff\EQMR-3991-MBusReadout-EnergyTariffs.seq | TEST
BJEQ-1116 | False |  | MbusZeraICT | Measurement | Energy Driven | 4 | sequences\TestMBusZeraICT\test\Semi-Automatic\Measurement\EQMR-865-3986-3989-3988-ModbusMap-Energy.seq | TEST
BJEQ-1117 | True |  | MbusZeraICT | Tariff + Measurement | Energy Driven | 4 | sequences\TestMBusZeraICT\test\Automatic\Tariff\EQMR-3991-MBusReadout-EnergyTariffs.seq | TEST
BJEQ-1118 | False |  | MbusZeraICT | Measurement | Voltage Driven | 3 | sequences\TestMBusZeraICT\test\Semi-Automatic\Measurement\EQMR-3984-3985-3990-3992-3993-ModbusMap-Readout.seq | TEST
BJEQ-1119 | True |  | MbusZeraICT | Others |  |  | sequences\TestMBusZeraICT\test\Automatic\Others\EQMR-4059-4060-4061-4062-4063-4064-4065-4066-4067-4068-4069-Availability.seq | TEST
EQMR-2776 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-2776
EQMR-2777 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-2777
EQMR-2778 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-2778
EQMR-2779 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-2779
EQMR-2803 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-2803 | Can be automated using the Tariff Source Register instead of HMI
EQMR-2804 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3669
EQMR-2809 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-2809
EQMR-2810 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-2810 | User Check, Complies with ZEV Variants - https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4218
EQMR-3524 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3524 | User Check; Can be done fully automatic by using ZERA Error measurement mode (LED); Complies with ZEV Variants - https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4203; Includes tests: EQMR-3525 and EQMR-4205 (ZEV)
EQMR-3669 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3669
EQMR-3691 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3691 | User Check
EQMR-3692 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3692 | User Check
EQMR-3693 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3693 | User Check
EQMR-3997 |  |  | MbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3997 | User Check
EQMR-3998 |  |  | MbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3998
EQMR-3999 |  |  | MbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-3999
EQMR-4006 |  |  | MbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4006
EQMR-4010 |  |  | MbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4010
EQMR-4011 |  |  | MbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4011
EQMR-4012 |  |  | MbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4012
EQMR-4017 |  |  | MbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4017
EQMR-4018 |  |  | MbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4018
EQMR-4019 |  |  | MbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4019
EQMR-4070 |  |  | MbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4070 | User Check
EQMR-4071 |  |  | MbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4071 | User Check
EQMR-4074 |  |  | MbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4074
EQMR-4075 |  |  | MbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4075
EQMR-4143 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4143 | User Check
EQMR-4648 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-4648
EQMR-7169 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-7169 | User Check
EQMR-7170 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-7170 | User Check
EQMR-7171 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-7171 | User Check
EQMR-7172 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-7172 | Not sure if result = -1 for ZEV Variants <- TO CHECK
EQMR-7173 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-7173
EQMR-7190 |  |  | MbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-7190
EQMR-876 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-876
EQMR-933 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-933
EQMR-935 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-935
EQMR-945 |  |  | ModbusZeraICT | [5 empty] | https://application-lifecycle-el.abb.com/polarion/#/project/EQMeterRedesign/workitem?id=EQMR-945