## Sheet1
Test Case | Title | Omicron | Modbus | HMI | Complexity | Priority | Status | Note | M4M20 | M4M30 | M4M20 Time | M4M30 Time
PMD-4444 | Alarm output configuration via Modbus | Yes | Yes | Yes | High | 3 | To be integrated with HMI (check Alarm icon on HMI) |  | Passed | Passed | 0:51 | 1:23
PMD-1883 | Pulse output | Yes | Yes | Yes | High |  |  | Copy of PMD-4562 with few changes | Passed | Passed | 0:02 | 0:01
PMD-4562 | Pulse Output - MID | Yes | Yes | Yes | High |  |  | Copy of PMD-1883 with few changes | Passed | Passed | 0:02 | 0:04
PMD-1141 | Energy Reset - Perform energy reset though HMI | No | Yes | Yes | Low | 1 | New, can be designed starting from PMD-3564 |  | Passed | Passed | 0:01 | 0:02
PMD-2502 | Power Fail - Energy registers (tariff) | Yes | Yes | Yes | Low | 1 | To be integrated with HMI (display and button/touch) |  | Passed | BUG Modbus TARIFF | 0:10
PMD-3564 | Energy Reset - Perform energy reset though Modbus | No | Yes | Yes | Low | 1 | To be integrated with HMI (display and button/touch) | Copy of PMD-3565 with few changes | Passed | Passed | 0:01 | 0:01
PMD-1111 | Tariff - Configuration through HMI | No | Yes | Yes | Low | 2 | New, can be designed starting from PMD-1112 | Copy of PMD-1112 with few changes | NA | Passed |  | 0:01
PMD-1157 | I/O - Set output through HMI | Yes | No | Yes | Low | 2 | New, can be designed starting from PMD-1158 | Copy of PMD-1158 with few changes | Passed | Passed | 0:01 | 0:11
PMD-1182 | Voltage transformer ratio - Configuration through HMI | No | Yes | Yes | Low | 2 | To be integrated with HMI (display and button/touch) |  | Passed | Passed | 0:03 | 0:05
PMD-1183 | Voltage transformer ratio - Configuration through Communication | No | Yes | Yes | Low | 2 | To be integrated with HMI (display and button/touch) |  | Passed | Passed | 0:02 | 0:04
PMD-1185 | Current transformer ratio - Configuration through HMI | No | Yes | Yes | Low | 2 | To be integrated with HMI (display and button/touch) |  | Passed | Passed | 0:03 | 0:04
PMD-1186 | Current transformer ratio - Configuration through Communication | No | Yes | Yes | Low | 2 | To be integrated with HMI (display and button/touch) |  | Passed | Passed | 0:01 | 0:02
PMD-1803 | Warning logs - Read and reset | No | Yes | Yes | Low | 2 | New |  | Passed | Passed | 0:03 | 0:06
PMD-3565 | Energy Reset - MID - The energy reset is not possible | Yes | Yes | Yes | Low | 2 | To be integrated with HMI (display and button/touch) | Copy of PMD-3564 with few changes | Passed | Passed | 0:00 | 0:00
PMD-1029 | Counter Up/Down - Reset | No | Yes | Yes | Low | 3 | To be integrated with HMI (display and button/touch) |  | Passed | Passed | 0:04 | 0:08
PMD-1053 | Audit Log - Creation | No | Yes | Yes | Low | 3 | To be integrated with HMI (display and button/touch) |  | Passed | Passed | 0:05 | 0:13
PMD-1112 | Tariff - Configuration through communication | No | Yes | Yes | Low | 3 | To be integrated with HMI (display) |  | NA | Passed |  | 0:00
PMD-1158 | I/O - Set output through communication | Yes | Yes | No | Low |  |  |  | Passed | Passed | 0:00 | 0:00
PMD-1160 | Instrumentation - Read | Yes | Yes | Yes | Med | 1 | New, high priority |  | Passed | Passed | 0:03 | 0:09
PMD-4710 | Measurements reading are related to CT and VT ratio | Yes | Yes | Yes | Med | 1 | New |  | BUG N current | BUG N current
PMD-1178 | Unbalance - Read through HMI | Yes | Yes | Yes | Med | 2 | New, can be one sequence for PMD-1178,1179,4455 |  | NA | Passed |  | 0:00
PMD-1116 active | Communication control - Activate tariff through communication | Yes | Yes | Yes | Med | 2 | To be integrated with HMI (display and button/touch) |  | NA | BUG Modbus TARIFF
PMD-1116 reactive | Communication control - Activate tariff through communication | Yes | Yes | Yes | Med | 3 | To be integrated with HMI (display and button/touch) |  | NA | BUG Modbus TARIFF
PMD-1120 active | Input control - Configura inputs through HMI | Yes | No | Yes | Med | 2 | To be integrated with HMI (display and button/touch) |  | Error (Extended I\O) | Passed |  | 0:08
PMD-1120 reactive | Input control - Configura inputs through HMI | Yes | No | Yes | Med | 3 | To be integrated with HMI (display and button/touch) |  | Error (Extended I\O) | Passed |  | 0:06
PMD-1121 act | Input control - Configura inputs through communication | Yes | Yes | No | Med |  |  | Copy of PMD-4540 with few changes | Error (Extended I\O) | Passed |  | 0:03
PMD-1121 react | Input control - Configura inputs through communication | Yes | Yes | No | Med |  |  | Copy of PMD-4540 with few changes | Error (Extended I\O) | Passed |  | 0:04
PMD-1145 | Analogue Outputs - Conversion | Yes | No | Yes | Med |  |  |  | Error (Extended I\O) | Error (Extended I\O)
PMD-1878 | Pulse Input - IO test | Yes | Yes | Yes | Med |  |  |  | Error (Extended I\O) | Passed |  | 0:01
PMD-4540 act | Input control - Configure inputs for MID meters | Yes | Yes | No | Med |  |  | Copy of PMD-1121 with few changes | NA | Passed |  | 0:13
PMD-4540 react | Input control - Configure inputs for MID meters | Yes | Yes | No | Med |  |  | Copy of PMD-1121 with few changes | NA | Passed |  | 0:14
PMD-4455 | Unbalance - M4M 2X management | [7 empty] | NA | NA
PMD-1179 | Unbalance - Read through communication | [7 empty] | NA | Passed |  | 0:00