## Sheet1
Test Case | Title | Omicron | Modbus | HMI | Complexity | Priority | Status | Note | M4M20 | M4M30 | M4M20 Time | M4M20 Extimated Time manual | M4M30 Time | M4M30 Extimated Time manual
PMD-4444 | Alarm output configuration via Modbus | Yes | Yes | Yes | High | 3 | To be integrated with HMI (check Alarm icon on HMI) |  | Passed | Failed | 0:54 | 2:00
PMD-1883 | Pulse output | Yes | Yes | Yes | High |  |  | Copy of PMD-4562 with few changes | Passed (no ipses) | Passed | 0:02 | 0:05 | 0:01 | 0:03
PMD-4562 | Pulse Output - MID | Yes | Yes | Yes | High |  |  | Copy of PMD-1883 with few changes |  | Passed |  |  | 0:01 | 0:05
PMD-1141 | Energy Reset - Perform energy reset though HMI | No | Yes | Yes | Low | 1 | New, can be designed starting from PMD-3564 |  |  | Failed
PMD-2502 | Power Fail - Energy registers (tariff) | Yes | Yes | Yes | Low | 1 | To be integrated with HMI (display and button/touch) |  |  | BUG Modbus TARIFF
PMD-3564 | Energy Reset - Perform energy reset though Modbus | No | Yes | Yes | Low | 1 | To be integrated with HMI (display and button/touch) | Copy of PMD-3565 with few changes |  | Failed
PMD-1111 | Tariff - Configuration through HMI | No | Yes | Yes | Low | 2 | New, can be designed starting from PMD-1112 | Copy of PMD-1112 with few changes |  | Passed |  |  | 0:01 | 0:02
PMD-1157 | I/O - Set output through HMI | Yes | No | Yes | Low | 2 | New, can be designed starting from PMD-1158 | Copy of PMD-1158 with few changes |  | Touch fail
PMD-1182 | Voltage transformer ratio - Configuration through HMI | No | Yes | Yes | Low | 2 | To be integrated with HMI (display and button/touch) |  |  | Read VT Ratio fail
PMD-1183 | Voltage transformer ratio - Configuration through Communication | No | Yes | Yes | Low | 2 | To be integrated with HMI (display and button/touch) |  |  | Bug Counter
PMD-1185 | Current transformer ratio - Configuration through HMI | No | Yes | Yes | Low | 2 | To be integrated with HMI (display and button/touch) |  |  | Read VT Ratio fail
PMD-1186 | Current transformer ratio - Configuration through Communication | No | Yes | Yes | Low | 2 | To be integrated with HMI (display and button/touch) |  |  | Read VT Ratio fail
PMD-1803 | Warning logs - Read and reset | No | Yes | Yes | Low | 2 | New |  |  | Passed |  |  | 0:05 | 0:20
PMD-3565 | Energy Reset - MID - The energy reset is not possible | Yes | Yes | Yes | Low | 2 | To be integrated with HMI (display and button/touch) | Copy of PMD-3564 with few changes |  | Passed |  |  | 0:00 | 0:05
PMD-1029 | Counter Up/Down - Reset | No | Yes | Yes | Low | 3 | To be integrated with HMI (display and button/touch)
PMD-1053 | Audit Log - Creation | No | Yes | Yes | Low | 3 | To be integrated with HMI (display and button/touch)
PMD-1112 | Tariff - Configuration through communication | No | Yes | Yes | Low | 3 | To be integrated with HMI (display)
PMD-1158 | I/O - Set output through communication | Yes | Yes | No | Low |  |  |  | Passed |  | 0:00 | 0:01
PMD-1160 | Instrumentation - Read | Yes | Yes | Yes | Med | 1 | New, high priority
PMD-4710 | Measurements reading are related to CT and VT ratio | Yes | Yes | Yes | Med | 1 | New
PMD-1178 | Unbalance - Read through HMI | Yes | Yes | Yes | Med | 2 | New, can be one sequence for PMD-1178,1179,4455
PMD-1116 active | Communication control - Activate tariff through communication | Yes | Yes | Yes | Med | 2 | To be integrated with HMI (display and button/touch)
PMD-1116 reactive | Communication control - Activate tariff through communication | Yes | Yes | Yes | Med | 3 | To be integrated with HMI (display and button/touch)
PMD-1120 active | Input control - Configura inputs through HMI | Yes | No | Yes | Med | 2 | To be integrated with HMI (display and button/touch)
PMD-1120 reactive | Input control - Configura inputs through HMI | Yes | No | Yes | Med | 3 | To be integrated with HMI (display and button/touch)
PMD-1121 act | Input control - Configura inputs through communication | Yes | Yes | No | Med |  |  | Copy of PMD-4540 with few changes
PMD-1121 react | Input control - Configura inputs through communication | Yes | Yes | No | Med |  |  | Copy of PMD-4540 with few changes
PMD-1145 | Analogue Outputs - Conversion | Yes | No | Yes | Med
PMD-1878 | Pulse Input - IO test | Yes | Yes | Yes | Med
PMD-4540 act | Input control - Configure inputs for MID meters | Yes | Yes | No | Med |  |  | Copy of PMD-1121 with few changes |  | Passed |  |  | 0:12 | 0:15
PMD-4540 react | Input control - Configure inputs for MID meters | Yes | Yes | No | Med |  |  | Copy of PMD-1121 with few changes |  | Passed |  |  | 0:15 | 0:20
PMD-4455 | Unbalance - M4M 2X management
PMD-1179 | Unbalance - Read through communication
Fw: | P3.0.0.3
Test | M4M20 - SEA | M4M21-SEA | M4M20 - IMA | M4M30 -SEA | M4M30-SMA | M4M30-IMA | M4M31 -SEA | Execution time (minutes) | Extimated time (minutes)
PMD-1029 | Passed |  |  | Passed |  |  |  | 4
PMD-1053 | BUG Factory reset |  |  | BUG Factory reset
PMD-1111 | Not Implemented |  |  | Passed
PMD-1112 | Not Implemented |  |  | Passed
PMD-1116 active | Not Implemented |  |  | BUG TARIFF (MODBUS) | BUG TARIFF (MODBUS)
PMD-1116 reactive | Not Implemented |  |  | BUG TARIFF (MODBUS) | BUG TARIFF (MODBUS)
PMD-1120 active | Not Implemented |  |  | Passed
PMD-1120 reactive | Not Implemented |  |  | Passed(M4M not calib)
PMD-1121 act | BUG TARIFF (MODBUS) |  |  | BUG TARIFF (MODBUS)
PMD-1121 react | BUG TARIFF (MODBUS) |  |  | BUG TARIFF (MODBUS)
PMD-1141 | BUG AUDIT LOG |  |  | BUG AUDIT LOG
PMD-1145 | Not Implemented |  |  | Not Implemented
PMD-1157 | Passed |  |  | Passed (sequence fail not M4M)
PMD-1158 | Passed |  |  | Passed
PMD-1160 | Passed(number recognition fail but M4M ok)
PMD-1178 | Not Implemented
PMD-1179 | Not Implemented
PMD-1182 | passed
PMD-1183 | Passed
PMD-1185 | Passed
PMD-1186 | Passed
PMD-1803 | Fail Waring Icon (to investigate)
PMD-1878 | Not Implemented
PMD-1883 | Passed
PMD-2502 | Passed |  |  |  | BUG TARIFF (MODBUS)
PMD-3564 | Passed
PMD-3565 | Not Implemented
PMD-4444 | Passed | [6 empty] | 55
PMD-4455 | Not Implemented
PMD-4540 act | Not Implemented | [5 empty] | Passed | 13 | 25
PMD-4540 react | Not Implemented | [5 empty] | Passed | 20 | 30
PMD-4562 | Not Implemented | Passed |  |  |  |  | Passed | 1 | 5
PMD-4710